PDNY

Pony Testing International Group

报告编号(Report ID)：

QOBTVNKI41245955Z

TYFP

扫微侑二维码 关注谐尼测试

171212050808

检测报告

(Testing Report)

委托单位

安徽安大华泰新材料有限公司

(Applicant)

受测单位

(Tested Unit)

安徽安大华泰新材料有限公司

PSNY谱尼测试

. Pony Testing International Group

声明

Statement

- 本报告无专用章和批准人签章无效。

This report is invalid without the approver's signatures and special seal of inspection.

- 本报告页缶所使用“PONY”、“谱尼”字样为本单位的注册商标，其受《中华人民共和国商标法》保护，任何未经本 单位授权的擅自使用和仿冒、伪造、变造“PONY”、“谱尼”舌标话为违法侵权行为，本单位将依法追究其法律责任・ The pattern and characters of "PONY" and ”谱尼"used in this report are protected by the trademark law of the People's Republic of China. Any unauthorized usage, counterfeit, forgery and alteration of trademarks of "PONY" and ”谱尼"are the violations of the law. The PONY has the right to pursueall legal liabilities of the subject of the delict.

- 委托单位对报告数据如有异议，请于报告完成之日起十五日内向本单位书面提出复测申请，同时附上报告原件并预 付复测费。

If the applicant has any questions about the results, shall provide a written retest application, the original report and prepay the retest fees to PONY within fifteen days since the approval date.

- 委托单位办理完毕以上手续后，本单位会尽快安排复测。如果复测结果与异议内容相符，本单位将退还委托单位的 复测费。

After the applicant finishes the procedure mentioned above, PONY shall arrange the retest as soon as possible. If the retest result accords with the applicant dissent, PONY shall refund the retest fees.

- 不可重复性或不能进行复测的实验，不进行复测，委托单位放弃异议权利。

Tests that can not be repeated and tested shall not be carried out again.

- 委托单位对样品的代表性和资料的真实性负责，否则本单位不承担任何相关责任。

The applicant should undertake the responsibility fbr the provided samples* representativeness and document authenticity. Otherwise, PONY has not any relevant responsibilities.

- 本报告仅对所测样品负责，报告数据仅反映对所测样品的评价，对于报告及所载内容的使用、使用所产生的直接或 间接损失及一切法律后果，本单位不承担任何经济和法律责任。

This report is only responsible fbr the provided sample. The test results only represent the evaluation of the tested sample. PONY will not be responsible fbr any economical or legal liability generated from direct or indirect usage of the test report.

- 本单位有权在完成报告后处理所测样品。	、

PONY has the right to dispose the tested sample after approval of the test report.

- 本单位保证工作的客观公正性，对委托单位的商业信息、技术文件等商业秘密履行保密义务。

PONY assures objectivity and impartiality of the test, and fulfills the obligation of confidentiality fbr applicant's commercial information, and technique document.

- 本报告全部或部分复制、私自转让、盗用、冒用、涂改或以其它任何形式篡改的均属无效，本单位将对上述行为严 究其相应的法律责任。

Any unauthorized reproduce in full or part, piracy, alteration, forgery or falsification of the content is unlawful. PONY will investigate above acts for their legal liability.

****************************************************************************************************************************************************************************** ▲防伪说明(Anti-counterfeiting Description):

(1)报告编号是唯一的；

The test report has exclusive report code.

⑵ 报告采用特制防伪纸张印制，纸张表面带有"PONY"防伪纹路，该防伪纹路不支持复印，即复制件不会带有"PONY" 防伪纹路。

The test report is printed by anti-copying paper whose surface shows "PONY" security print with specific anti-counterfeiting technique. Security print will disappear after copying. Duplicates are not expected to give "PONY" security print under any circumstances.

*♦ ****************************************************************************************************************************************************************************

扫微信二维码

关注诺尼测试

www.ponytest.com

©Hotline 400-819-5688

度门实验室＜ (0592)5568048 成都实验室I (028)87702708

北京实验(010)82618116 上海实验室：(021)64851999 肖岛实验室：(0532)88706866 深圳实验寮；(0755)26050909 大件实验伺：(022)27360730 苏州实验室：(0512)62997900

K春实验电：(0431)85150908 大连实验室：(0411)87336618 哈尔滨实验室：(0451)88104651 郑州实验室:(0371)69350670 新圳实验室：(0991)6684186 石家庄实验室:(0311)85376660 西安实验室：(029)89608785

呼和浩特实验室：(0471)3450025 杭.州实验室» (0571)87219096 宁波实脸室:(0574)87736499 武汉实验室：(027)83997127

合肥实验室＞ (0551)63843474 广州实验室:(020)89224310

扫微佰二维码

关注诺尼測代

第1页，共8页

RON诲

Pony Testing International Gro叩

pnMV谱尼测试

^(1	■ Pony Testing Inicrnational Ciroup

(OHotlinc 400-K19-56S8 www.ponytcsl.eoni

爛端酬離由gy皿岫屮俱

北京实"EL (010)8305500()

I.海实孙(021)64X51999 I*i 岛实弦卒 I (0532)8K706H66 謀J川实应拒 I (0755)26050909 人汁实验:礼(022)2.U)07KHH 苏州实盹用I (0512)62997900

I：作实曲宇：(0431)X5150908 (0411)87336618 哈；)验‘汨(()4 SI) 5 M2 7 7 5 S 邓州刀盼 2(1 (0371)6935067() 新 WT实盼辛 1 (0991)6684186

右'京 IL实舲空 I (0311)85376660 lnl 安■)：盼中 < (O29)H()6ON7K5

»f W沽牯'k盼中 « (047DM50025 伉川'土 U'l '* I (057))85X06X0? 宁波、)W1"L (OS7-nX7l)77lK5

.(O27)SVH)71?7 (nS5l)6^B4?4 「洲ft t gm 心 wi) 戚门'土胎知1 (MQ2ZMW 戒郡安卩'汩(O2X)S?7lH7OS

报告编号：QOBTVNKI41245955Z

| 委托单位 | 安徽安大华泰新材料有限公司 |  |  |  |
| --- | --- | --- | --- | --- |
| 受测单位 | 安徽安大华泰新材料有限公司 |  |  |  |
| 受测地址 | 合肥市高新区柏堰科技园纬九路 |  |  |  |
| 样品类别 | 土壤 | 样品状态 |  | 固态 |
| 釆样日期 | 2020-04-09 | 检测日期 |  | 2020-04-09〜2020-04-29 |
| 检测类别 | 委托检测 | 检测环境 |  | 符合要求 |
| 检测项目 | 见下页 |  |  |  |
| 检测方法 | 见附表 |  |  |  |
| 所用主要仪器 | 见附表 |  |  |  |
| 备注 | - 项目名称：安徽安大华泰新材料有限公司土壤及地下水监测； - 检测结果仅代表本次现场监测釆样时生产工况下排放结果； - 监测点位、监测时段由委托方指定； - 该报告中检测方法由委托单位指定； - 限值标准：GB 36600-2018筛选值第二类用地； - 表示标准中无此项目限值要求。 |  |  |  |
|  | 编制人 |  | 巫It |  |
|  | 审核人 |  |  |  |
|  | 批准人 |  | 14 |  |
|  | 签发日期 |  | 2020年04月29日 |  |

扫微信二维伺 关注谓尼测试

^Hotline 400-819-5688 www.ponylcst.com

必罷#吗皺繼那水伽66 "岫科科顾7听叫

Pony Testing International Group

| 报告编号：QOBTVNKI41245955Z 第2页，共8页 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 检测项目 |  | 限值 | 釆样位置/样品编号/检测结果 |  |  |  |
|  |  |  | T1厂区西北角（背 景值）0.2m 141245955 | T2 2#仓库东南侧 0.2m 141246955 | T3 1#仓库南侧 0.2m 141247955 | T4污水处理站南侧 0.2m 141248955 |
| 碑,mg/kg |  | 60 | 13.2 | 12 | 8.83 | 5.88 |
| 镉，mg/kg |  | 65 | 0.11 | 0.05 | 0.03 | 0.05 |
| 六价格，mg/kg |  | 5.7 | <2 | <2 | <2 | <2 |
| 铜，mg/kg |  | 18000 | 28 | 28 | 22 | 23 |
| 铅，mg/kg |  | 800 | 22.5 | 24.1 | 14.9 | 14.7 |
| 汞，mg/kg |  | 38 | 0.023 | 0.02 | 0.03 | 0.071 |
| 镣，mg/kg |  | 900 | 24 | 24 | 22 | 21 |
| pH （无量纲） |  | — | 7.14 | 8.07 | 7.24 | 7.19 |
| '挥发性 有机物， mg/kg | 四氯化碳 | 2.8 | <1.3x10-3 | <1.3x10-3 | <1.3xio-3 | <1.3x10-3 |
|  | 氯仿 | 0.9 | <1.1x10-3 | <1.1x10-3 | <1.1x10-3 | <l.lxio-3 |
|  | 氯甲烷 | 37 | <1.0x10-3 | <1.0x10-3 | <1.0x10' | <1.0x10-3 |
|  | 1,1-二氯乙烷 | 9 | <1.2x10-3 | <1.2x10-3 | <1.2x10-3 | <1.2x10-5 |
|  | 1.2-二氯乙烷 | 5 | <1.3x10-3 | <1.3x10-5 | <1.3x10-3 | <1.3x10-3 |
|  | 1,1-二氯乙烯 | 66 | <1.0x10-3 | <1.0x10-3 | <1.0x10-3 | <1.Ox IO」 |
|  | 顺-12-二氯乙烷 | 596 | <1.3x10-3 | <1.3x10-3 | <1.3x10-3 | <1.3x10-3 |
|  | 反-12-二氯乙烷 | 54 | <1.4xlOJ | <1.4x10-3 | <1.4x10-3 | <1.4x10-3 |
|  | 二氯甲烷 | 616 | <1.5x10-3 | <1.5x10-3 | <1.5x10-3 | <1.5x10-3 |
|  | 1,2•二氯丙烷 | 5 | <1.1x10-5 | <1.1x10-3 | <1.1x10-3 | <1.1x10-3 |
|  | 1,1,12-四氯乙烷 | 10 | <1.2xl0'3 | <1.2xl0-3 | <1.2x10-3 | <1.2xl0-3 |
|  | 1,122-四氯乙烷 | 6.8 | <1.2x1 O'3 | <1.2x1 O'3 | <1.2x10-3 | <1.2x10, |
|  | 四氯乙烯 | 53 | <L4xl 0。 | <1.4xl03 | <1.4x10-3 | <1.4x10-3 |
|  | 1,1,1-三氯乙烷 | 840 | <1.3x10-3 | <1.3x10-3 | <1.3x10-3 | <1.3x10-3 |
|  | 1,1,2三氯乙烷 | 2.8 | < 1.2x10 s | <1.2xlOJ | <1.2x10-3 | <1.2x10， |
|  | 三氯乙烯 | 2.8 | <1.2xlO-J | <1.2x10-3 | <1.2x10-3 | <1.2xl0'3 |
|  | 〔23 •三氯丙烷 | 0.5 | 〈DIO」 | <1.2x10-5 | <1.2x10-5 | <1.2xl0'3 |
|  | 氯乙烯 | 0.43 | <1.0x10, | <1.0x10-3 | <1.0x10-3 | <1.0x10」 |
|  | 苯 | 4 | <1.9x10」 | <1.9x10-5 | V 1.9x10-3 | <1.9x10,3 |
|  | 氯苯 | 270 | <1.2x10-3 | <1.2x10-3 | <1.2x10-3 | <1.2x1 O'3 |
|  | 12二氯苯 | 560 | <1.5x1 O'3 | <1.5xl0-J | <1.5x10-3 | <1.5x10’ |
|  | 1,4 二勰 | 20 | <1.5xl0J | <1.5xlO-3 | VI .5x10-3 | <1.5x10。 |
|  | 乙苯 | 28 | <1.2xl03 | <1.2x10， | <1.2x10*3 | <1.2x10」 |
|  | 苯乙烯 | 1290 | <1.1x10-3 | <l.lxio-3 | <1.1X103 | <1.1x10-3 |
|  | 甲苯 | 1200 | <1.3xl0-J | <1.3x10-3 | <1.3x10-3 | <1.3x10-3 |
|  | 何二甲苯+对二甲苯 | 570 | <1.2x10」 | <1.2xI(P | <1.2x10-3 | <1.2xl0-3 |
|  | 邻二甲茉 | 640 | <1.2x10' | <1.2x10-3 | <1.2x10-3 | <1.2x1 O'3 |

武汉实m室: 合肥

广州'I. <• ■；•：

nrn >

供向丈验Vi

北京实舲卒, i』j丈的宕， 在岛实豹空; 次別火牧中： 人”‘：）:心卒， •方州文的机

K 存实技室：(0131)85150908 丿、迎实舲空：(0411)X7336618 哈力：派 5 空» (0451)58627755 加州实93* I (0371)69350670 所叫 J：m (0991)6684186

，WI 实纹空：(0311)85376660 i'*l ，：g * « (OX) X96OX785

"f W浩村实验宇 I (0471)345()025 杭州(0571)85806807 宁波')：心巾.(0574)87977185

(027)83997127 (0勺51)。3时3174 ((»20)8M224no

(O5921556SU4S

(02S)8770270S

“)10)83055()0() ")21)6圳 51999 (0532)8870你66 (0755)26()50909

(O22I2J6O7XKX (0512)629*^790()

pnwv谱尼测试

0	El Pony Testing Infcrnalional Group

PONY

pnhiw谱尼测试

潔	■ Pony hiiriiinlionnl Cln»up

们血Hi我 400-KI9-56KK	www.ponyicst.com

66号犬国儀科

化成实胎宇"(010)8305500() I.湖实验*1 (021)64X51999 占岛%胎'如(05 U)XH706K66 涅川|'电 16^1 (075 5 )2(>05(»9()9 (O22PU.O7KKK 办出实嘩* I (»512)63097000

KD：映敏｝ (0411)85150901) 丿、凡实牧 *丨(0411)X7536618

I'f?尔派实於宇 t (0451)58627755 邓旭 4：讨中1 (0H 1)69550670

III lllll ••')； W » (0^9l)66Mlb6

h* 項如检*, (0311)85376660 曲变实舲 * I (029)89608785

W W浩”丈验E (0171)3450025 仇川丈 S Sf 1 (O57i)85KO68O7 中波大！P 3E G)S74)K7977IK5

代汉代验電I (027)83997127

合肥-VWXh (0551)63843474

广州义約XG v n id x（. 戒都丈9〉章:

(O2O)SQ224J|O

(O5»J2)556XO48

(O2X)877O27OS

Pony Testing International Group

| 报告编号：QOBTVNKI41245955Z 第3页，共8页 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 检测项目 |  | 限值 | 釆样位置/样品编号/检测结果 |  |  |  |
|  |  |  | T1厂区西北角（背 景值）0.2m 141245955 | T2 2#仓库东南侧 0.2m 141246955 | T3 1#仓库南侧 0.2m 141247955 | T4污水处理站南侧 0.2m 141248955 |
| #半挥发 性有机 物， mg/kg | 硝基苯 | 76 | <0.09 | <0.09 | <0.09 | <0.09 |
|  | 苯胺 | 260 | <0.1 | <0.1 | <0.1 | <0.1 |
|  | 2-氯苯酚 | 2256 | <0.06 | <0.06 | <0.06 | <0.06 |
|  | 苯并［a］蔥 | 15 | <0.1 | <0.1 | <0.1 | <0.1 |
|  | 苯并厕 | 1.5 | <0.05 | <0.05 | <0.05 | <0.05 |
|  | 苯并［b］荧蔥 | 15 | <0.2 | <0.2 | <0.2 | <0.2 |
|  | 苯并［k］荧蔥 | 151 | <0.1 | <0.1 | <0.1 | <0.1 |
|  | 茴 | 1293 | <0.1 | <0.1 | <0.1 | <0.1 |
|  | 二苯并關蔥 | 1.5 | <0.05 | <0.05 | <0.05 | <0.05 |
|  | 曲并［1,2,3-cd］花 | 15 | <0.1 | <0.1 | <0.1 | <0.1 |
|  | 蔡 | 70 | <0.09 | <0.09 | <0.09 | <0.09 |

•本页以下空白

(II

Pony Testing International Group

IPfOMV谱尼测试

0	0 xJ U j*ony reeling Imernuiionul Group

们Hotline 400.KI9-568K	www.ponylest.com

公”〃3山台肥山血新MiW水■伽66	HUHIIUW 7弓楊9脱

北京实览*••:

I."或船礼 H岛实胎室,

人汁安睑窒, 苏州实验童I

(01 ())8305500()

(021)64X51999 (0532)KK706K66

(0755)260509()9

(O22)2V»O7KKX

(0512)6299790()

代〃实!捡卒：(0431)85150908 大it 实验窒：(0411)87336618 吟尔 ii'< '•)：处 S\： (0451)58627755 郑州	(0371)69350670

新机实盼気；(0991)66X4186

彳 i V11：实吳 *1 (031 1)85376660 四安实验也(029)89608785 呼和ft'i 项：於祐.I (0471 )3450025 杭州'丈紧宇：(()57 I )N 5 806807 宁波丈92 '* t (0574)87977185

我汉'史验N 合肥实验军 广州实般気,

威部'丈技宇:

(027)83997127

(0551)63843474

(020)89224310

(0592)556X048

(028)87702708

报告编号：Q0BTVNK141245955Z		第4页，共8页

| 检测项目 |  | 限值 | 釆样位置/样品编号/检测结果 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | T5 1#厂房东侧 0.2m 141249955 | T5 1#厂房东侧(平行) 0.2m 141252955 | T6 3#厂房西南侧 0.2m 141250955 | T7 3#厂房东南侧 0.2m 141251955 |
| 神，mg/kg |  | 60 | 9.53 | 9.82 | 8.46 | 10.6 |
| 镉，mg/kg |  | 65 | 0.07 | 0.04 | 0.07 | 0.03 |
| 六价格，mg/kg |  | 5.7 | <2 | <2 | <2 | <2 |
| 铜，mg/kg |  | 18000 | 28 | 40 | 30 | 27 |
| 铅，mg/kg |  | 800 | 23.5 | 19 | 24.9 | 16.2 |
| 汞，mg/kg |  | 38 | 0.038 | 0.024 | 0.028 | 0.023 |
| 裸，mg/kg |  | 900 | 23 | 30 | 30 | 19 |
| PH |  | — | 7.39 | 7.57 | 7.43 | 7.62 |
| 塀发性 有机物， mg/kg | 四氯化碳 | 2.8 | <1.3x10-3 | <1.3xlO-J | <1.3x10-3 | <1.3x10-3 |
|  | 氯仿 | 0.9 | <1.1x10-3 | <1.1x10-3 | <1.1x10-3 | <1.1x10-3 |
|  | 氯甲烷 | 37 | <1.0x10-3 | <1.0x10'3 | <1.0x10-3 | <1.0xl0'3 |
|  | 1,1二氯乙烷 | 9 | <1.2xlOJ | <1.2x10」 | <1.2x10-3 | <1.2xl0-3 |
|  | 1.,2-二氯乙烷 | 5 | <1.3xl0'3 | <1.3xlO'3 | <1.3x10-3 | <1.3x10-3 |
|  | 1,1-二氯乙烯 | 66 | <1.0x10-3 | <1.0x10-3 | <1.Ox 10-3 | <1.0x10-3 |
|  | 顺-1,2-二氯乙烷 | 596 | <1.3x10-3 | <1.3x10-5 | <1.3xlO-J | <1.3x10-3 |
|  | 反-1,2-二氯乙烷 | 54 | <1.4x1 O'3 | <1.4xl0-3 | <1.4xl0-3 | <1.4xlOJ |
|  | 二氯甲烷 | 616 | <1.5x10， | <1.5xl0-3 | <1.5x10-3 | <1.5x]O-3 |
|  | ],2-二氯丙烷 | 5 | <1.1X10」 | <1.1x10-3 | <1.1x10-3 | <1.1x10-3 |
|  | 1,1,12-四氯乙烷 | 10 | <1.2*10'3 | <1.2x10-3 | <1.2x10-3 | <1.2xlOJ |
|  | 1,1,22-四氯乙烷 | 6.8 | <1.2x1 O'3 | <1.2x10-3 | <1.2x10-3 | <1.2x10-3 |
|  | 四氯乙烯 | 53 | <1.4xl0-3 | <1.4x10」 | <1.4x10-3 | <1.4x10-3 |
|  | 1,1,1-三氣乙烷 | 840 | <1.3x10-3 | <1.3x10-3 | <1.3x10-3 | <1.3x10-3 |
|  | 1,1,2-三氣乙烷 | 2.8 | <1.2x10-3 | <1.2xl0-3 | V 1.2x10。 | <1.2xl0-3 |
|  | 三氮乙烯 | 2.8 | <1.2x1 O'3 | <1.2x10-3 | V 1.2x10-3 | <1.2x1 O'3 |
|  | 1,2,3三氣丙烷 | 0.5 | <1.2xl0-3 | <1.2对0-3 | V 1.2x10-3 | <i.2xi(r3 |
|  | 氯乙烯 | 0.43 | <1.0x10-3 | <1.0x10-3 | <1.0x10-3 | <1.Ox 10-3 |
|  | 苯 | 4 | <1.9xl03 | <1.9x103 | <1.9x10-3 | <1.9x10-3 |
|  | 鋭苯 | 270 | <1.2x1 O'3 | <1.2x10， | <1.2x10-3 | <1.2xl0'3 |
|  | 1,2二氮，苯 | 560 | <1.5*10-3 | <1.5x10-3 | <1.5x10*3 | <1.5xlO'3 |
|  | 1,4二瓠苯 | 20 | <1.5x10-3 | <1.5x10-3 | <1.5x10-3 | <1.5x]0-3 |
|  | 乙苯 | 28 | <1.2x10'3 | < 1.2x10, | <1.2x1 O'3 | <1.2xlO-J |
|  | 苯乙烯 | 1290 | <l.lxio-3 | <1.1X1O3 | <1.1x10*3 | <1.1x10-3 |
|  | 甲苯 | 1200 | <1.3x10-3 | <1.3x10-3 | <1.3x10-3 | <1.3x10-3 |
|  | 间二甲苯+对二甲苯 | 570 | <1.2x10」 | <1.2x10" | <1.2x10-3 | <1.2xlOJ |
|  | 邻二甲苯 | 640 | <1.2x10'3 | <1.2x10-3 | <1.2x10-3 | < 1.2x10， |

扫微信二维码 关注谱尼测试

检测报告

POhlV谱尼测试

脸 •SEE# 配 Xjfi U	Pony Testing International Group

ft'Iloilme 400-819-5688 www.ponytest.com

舞網^離制水东路球天岫科科岫号邮层

北京实凝室: 上湖实验生, 汽岛实验爭: 坏圳实验壑: 大泮实验宇" •方:州实验室:

(010)83055000

(021)64851999

(0532)88706X66

(0755)26050909

(022)236078"

(0512)62997900

K 眷实股宅；(0431)85150908 大连实3，*: (0411)87336618 哈尔 H-： 5 室:(0451)58627755 邛卅(0371)69550670 叫 liM •；• I (0991)66841X6

石。IT.实处空I (0311)85376660 曲安尖骚室：(029)8960X785

»f Uli；',h 制'E : (0471)345()025 仇卅次(0571 )X5806807

(0574)87977185

武汉实我飢(027)83997127

1 肥丈验车t (0551)63843474

1-州或验蜜：(020)892X310

rcil r V,j , •；-■>(0502)5568048 成都： (028)87702708

Pony Testing International Group

| 报告编号：QOBTVNKI41245955Z 第5页，共8页 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 检测项目 |  | 限值 | 釆样位置/样品编号/检测结果 |  |  |  |
|  |  |  | T5 1#厂房东侧 0.2m 141249955 | T5 1#厂房东侧(平行) 0.2m 141252955 | T6 3#厂房西南侧 0.2m 141250955 | T7 3#厂房东南侧 0.2m 141251955 |
| #半挥发 性有机 物， mg/kg | 硝基苯 | 76 | <0.09 | <0.09 | <0.09 | <0.09 |
|  | 苯胺 | 260 | <0.1 | <0.1 | <0.1 | <0.1 |
|  | 2 .氯苯酚 | 2256 | <0.06 | <0.06 | <0.06 | <0.06 |
|  | 苯并［a］蔥 | 15 | <0.1 | <0.1 | <0.1 | <0.1 |
|  | 苯并［a］花 | 1.5 | <0.05 | <0.05 | <0.05 | <0.05 |
|  | 苯并［b］荧蔥 | 15 | <0.2 | <0.2 | <0.2 | <0.2 |
|  | 苯并［k］荧蔥 | 151 | <0.1 | <0.1 | <0.1 | <0.1 |
|  | 菌 | 1293 | <0.1 | <0.1 | <0.1 | <0.1 |
|  | 二W%h］蔥 | 1.5 | <0.05 | <0.05 | <0.05 | <0.05 |
|  | 曲并［l,2,3・cd］花 | 15 | <0.1 | <0.1 | <0.1 | <0.1 |
|  | 蔡 | 70 | <0.09 | <0.09 | <0.09 | <0.09 |

#表示分包项目。承担分包单位：谱尼测试集团上海有限公司（资质认定证书编号160920340809）

本页以下空白

扫徹信二维码 关注谓尼測试

第6页，共8页

Pony Testing International Group 报告编号：QOBTVNKI41245955Z

附表：检测项目方法仪器一览表

| 检测项目 |  | 方法标准 | 仪器设备 | 检出限 |
| --- | --- | --- | --- | --- |
|  |  | 土壤和沉积物汞、砰、硒、保、秘的测定 微波消解/原子荧光法HJ 680-2013 | 原子荧光光谱仪 | O.Olmg/kg |
| 镉 |  | 土壤质虽铅、镉的测定石墨炉原子吸收分光光度法 GB/T 17141-1997 | 石墨炉原子吸收光谱仪 | O.Olmg/kg |
| 六价倍 |  | 固体废物六价铭的测定 碱消解/火焰原子吸收分光光度法HJ 687-2014 | 火焰原子吸收光谱仪 | 2mg/kg |
| 铜 |  | 土壤质量铜、锌的测定火焰原子吸收分光光度法 GB/T 17138-1997 | 火焰原子吸收光谱仪 | Inig/kg |
| 铅 |  | 土壤质量铅、镉的测定石墨炉原子吸收分光光度法 GB/T 17141-1997 | 石墨炉原子吸收光谱仪 | O.lmg/kg |
| 汞 |  | 土壤和沉积物汞、砰、硒、镣、锡的测定 微波消解/原子荧光法HJ 680-2013 | 原子荧光光谱仪 | 0.002mg/kg |
| 镣 |  | 土壤质量镣的测定火焰原子吸收分光光度法 GB/T 17139-1997 | 火焰原子吸收光谱仪 | 5mg/kg |
| pH |  | 土壤检测 第2部分土壤pH的测定NY/T 1121.2-2006 | 电子天平、pH计 | — |
| 挥发性 有机物 | 四氯化碳 | 土壤和沉积物挥发性有机物的测定 吹扫捕集/气相色谱质谱法HJ 605-2011 | 气相色谱•质谱联用仪 | L3 卩 g/kg |
|  | 氯仿 |  |  | l.lpg/kg |
|  | 氯甲烷 |  |  | l.Opg/kg |
|  | 1,1 .二氯乙烷 |  |  | 1.2pg/kg |
|  | 1.,2 •二氯乙烷 |  |  | 1.3pg/kg |
|  | 1,1 •二氯乙烯 |  |  | l.Opg/kg |
|  | 顺.1,2 .二氯乙烷 |  |  | L3 卩 g/kg |
|  | 反・1,2.二氯乙烷 |  |  | 1.4pg/kg |
|  | 二氯甲烷 |  |  | L5 卩 g/kg |
|  | 1,2■二氯丙烷 |  |  | l.lpg/kg |
|  | 1,1,1,2-四氯乙烷 |  |  | 1.2 卩 g/kg |
|  | 1,1,2,2 .四氯乙烷 |  |  | 1.2 卩 g/kg |
|  | 四氯乙烯 |  |  | 1.4pg/kg |
|  | 1,1!三氯乙烷 |  |  | 1.3 卩 g/kg |
|  | 1,1,2 .三氯乙烷 |  |  | 1.2gg/kg |
|  | 三氮乙烯 |  |  | 1.2卩g/kg |
|  | 1,2,3 •三氮丙烷 |  |  | 1.2pg/kg |
|  | 氯乙烯 |  |  | l.Opg/kg |
|  | 苯 |  |  | 1.9卩 g/kg |
|  | 氯苯 |  |  | 1.2卩g/kg |
|  | 1,2二氮苯 |  |  | 1.5卩g/kg |
|  | 1,4二氯苯 |  |  | 1.5卩g/kg |

谱尼测试

U	la	12 Pony Testing Intcmaiional Group

(DHotlinc 400-819-5688 www.ponytcst.com

合肥语尺明试料技4W公司

公刘地址，台肥市高新■掰本东路66丹天源W科技园7

北京实船(010)83055000

L/j m礼(021)64X519” i'r 岛')：竹 S(: (0532)8K706K66 iV 圳实心	(0755)26050909

(O22)236O7KXK

■))出实牧	(0512)629979()()

H，实吟空；(0431)85150908 (0411)87336618 峪尔忒实收¥ I (O45D5K627755

X|! Ml ')： 59 屮.(0J71 )69350670

Vi iW 'J：验中 I (0991)6684186

<• V H.我验S'I ((H||)«5376660 l"i 咬实(JQ 审 I (029) K960K785

"J	l. 'P .；, , (0171 H-ISIIO'S

仇川，J：屮3 S( I (0571)85806807

*i*波(0574)N7977IH5

0乂(O27W)7I27 ft HP： ■■)： 'J J S(, (OS5l)n3S-<U74

I 仰 (n20)XQ224)IO Kf I I L	,((iS9j)$SnX0IS

以 ，I (O?X)X77O17OX

回

扫口信二址码 关注津尼测试

pniM¥

Pony Testing International Group

报告编号：QOBTVNKI41245955Z

第7页，共8页

检测项目

附表：检测项目方法仪器一览表

方法标准

仪器设备

检出限

挥 发 性 有 机 物

乙苯
苯乙烯

甲苯

间二甲苯+对二甲苯

邻二甲苯

硝基苯

苯胺

土壊和沉积物挥发性有机物的测定
吹扫捕集/气相色谱质谱法HJ 605-2011

半 挥 发 性 有 机 物

2-氯苯酚

苯并［a］蔥
苯并回花
苯并［b］荧蔥
苯并［k］荧蔥

二苯并［调蔥
曲并［l,2,3<d］花

priKiv谱尼测试

y慵园 xJ m Puny	liitcindfluibtl (itoup

T>lloilnu 1(10 KI9-S6XX w ww.ponytMl com

鄉帥尸部.SZW/MrE "神时"1梱7 Ml。"』

土壤和沉积物半挥发性有机物的测定
气相色谱-质谱法HJ 834-2017

l.lpg/kg

1.3pg/kg

1.2 卩g/kg

1.2 卩 g/kg

0.09mg/kg

0.1mg/kg

0.06mg/kg

O.lmg/kg

O.lmg/kg

0.2mg/kg

O.lmg/kg

O.lmg/kg

0.05mg/kg

O.lmg/kg

1.2jig/kg

气相色谱-质谱联用仪

气相色谱-质谱联用仪

0.09mg/kg

•本页以下空白

II, I? ). 1-*	linsotlll

I 2 J'H A' . (1121

i'i '-'i)： 11 •» . (U5 U|HM70hK66

11' Hl| J' 'l.'> 'V I

>.tl'). *1) "， (HJ"IW7NXH

'■ ■'!! 1 I f in I II, ."'.)

| ft ). '!> V I	(I 11 'I . UH I V'bnbO	i心—' ' ,(NM、'I〉'

I J tj > v » U>l 11IH H U>n|H i'»i • •)I'1' »'» 睥(\DN，x\ JIR" m ,	I ,<

uh i，lt )t> •( .(»mi nM(»yr*s' »i vih\ 1\ J. r x . zirniwm i

亦川)'11 -V I (|H N Ki*)nt>6/n	EH J L) E ((ElzmhW	IQ I I I, v- V <

Jh n i !• ：■ ■ |IP>0| IIKO '宀 I J '»)t |0,' hs 'M >•!»<'	(V' i, !> ■ »

扫a信二也口 关注诣尼羽说

第8页，共8页

PDN1

Pony Testing International Group 报告编号：QOBTVNKI41245955Z

示意图

以下空白

谱尼测试

■	lJ Pony Tcsling Intemaiional Group

©Hotline 400-819-5688 www.ponytcst.com

n： 1忙小〈涪，丄.掐66	7 I；援总

北京实舲3」 上海实般*： 肖岛实段:*: 深圳实虹礼 大那实少V： 苏州实为礼

(010)8305500()

(021)64X51999 (0532)8X706866 (0755)26050909

(022)23607888

(0512)6299790()

世祥实睑窒:(0431)85150908 大理实脸室:(0411)87336618 哈尔演9。X' : (0451)58627755

XII州 U 羚 Xrs (0371 )6935067() 新醐寸弗中：(0991)66时186

实技宇:(0311)85576660 睇安炊5 (020)8960X785 i>f' (U浩	10471)^45002；

fi 仍、UN* I (0571)85806807 宁波U脆中 I (0574)X7^77185

M泠文为年：(O27)S3^7U7

I'州由公気:(心0)睥 〈门疋局毫 I(O5')2)ssnSOIS 成裕、、m t U)?S)87702?0S